## Slide 1: Beam
A structural member which is long when compared with its lateral dimensions, subjected to transverse forces so applied as to induce bending of the member in an axial plane, is called a beam.

## Slide 2
W1
A
B
90◦

## Slide 3
beam

## Slide 5: Types of supports

## Slide 6
Roller support

## Slide 7
Roller support

## Slide 8
Roller support

## Slide 9: Types of supports

## Slide 10
HA
RA
α
W1
A
B
30◦
Hinge support
Roller support
VA
VB

## Slide 12: Types of supports

## Slide 13: Types of supports

## Slide 14
beam
Fixed

## Slide 15: Types of supports

## Slide 16: TYPES OF BEAMS
Simply Supported Beam
Over-hanging Beam
Cantilever Beam
Propped Cantilever
Continuous Beam
Fixed beam

## Slide 17: Types of beams
1.Simply supported beam:-
A beam supported freely on the walls or columns at its both ends is known as simply supported beam.
2.Over hanging beam:-
A Beam is freely supported on two supports. But its one end or both the ends are projected beyond the support.

## Slide 18: Types of beams
3.Cantilever Beam:
A Beam Fixed at one end and free at the other end is known as cantilever Beam.
4.Fixed Beam:-
A beam whose both ends are rigidly fixed is known as cantilever beam.

## Slide 19: Types of beams
5.Continuous beam:-
A Beam Supported on more then two support is known as continuous beam.

## Slide 20
Propped Cantilever

## Slide 24: TYPES OF LOADING
Uniformly Distributed Load (UDL): Over considerably long distance such load has got uniform intensity. It is represented as shown in Fig. (a) or as in (b). For finding reaction, this load may be assumed as total load acting at the centre of gravity of the loading (middle of the loaded length).

## Slide 25: TYPES OF LOADING
b
d
l
RCC unit wt = 25 kN/m3
b = 0.23 m,
d= 0.45 m,
load intensity = 25 x 0.23 x 0.45 = 2.5875 kN/m
w = 2.5875 kN/m

## Slide 26: UDL in equivalent point load
4 m
A
B
2.5875 x 4 = 10.35 kN
2 m
4 m
A
B
2.5875 kN/m

## Slide 27: UDL in equivalent point load
4 m
A
B
3 kN/m
2.5 m
C
4 m
A
B
3x 2.5 = 7.5 kN
1.25m

## Slide 32
l
W1 per unit length
b
d1
d2
B
A
l
A
B
W2 per unit length

## Slide 33
3/3 = 1 m
2 x 3/3 = 2m
0.5 x 20 x 3 =30 kN

## Slide 34
External Moment: A beam may be subjected to external moment at certain points. In Fig. the beam is subjected to clockwise moment of 30 kN-m at a distance of 2 m from the left support.
has no significance as far as
position is concerned.

## Slide 36
Beam
Determinate beams
Indeterminate beams
Beams with maximum 3 unknowns is know as determinate beams.
Example:- simply supported beam, cantilever, overhanging beam, roller beam
Beams with more than 3 unknowns is know as Indeterminate beams.
Examples:- Fix beam , propped cantilever beam , continuous beam

## Slide 37
Self wt of pipe
wt. of fluid

## Slide 38
Determine support reactions for following beams
Find the reactions at supports A and B of the loaded beam shown in Fig.

## Slide 39
A
B
40 kN
C
2 m
4 m
ΣFx = 0 , ΣFy = 0, ΣM = 0
ΣFy = 0 (upward forces + ve)
VA – 40 + VB = 0, VA + VB = 40 kN
ΣMA = 0 (anticlockwise moment +ve)
(40 x 2) + (VB x 6 ) = 0
VB = 80/6 = 13.67 kN
VA =40 – 13.67 = 26.33 kN
VB
VA
Example 1

## Slide 40
ΣFx = 0 , ΣFy = 0, ΣM = 0
ΣFy = 0 (upward forces + ve)
VA – (60) + VB = 0, VA + VB = 60 kN
ΣMA = 0 (anticlockwise moment +ve)
[(60 x (6/2)] + (VB x 6 ) = 0
VB = 180/6 = 30 kN
VA = 60 - 30 = 30 kN
VB
VA
6 m
A
B
10 kN/m
10 x 6 = 60 kN
3 m
Example 2

## Slide 41
6 m
A
B
3 kN/m
4m
C
3x 4 = 12 kN
2 m
6m
A
B
ΣFy = 0 (upward forces + ve)
VA – (12) + VB = 0, VA + VB = 12 kN
ΣMA = 0 (anticlockwise moment +ve)
(12 x 2) + (VB x 6 ) = 0
VB = 24/6 = 4 kN
VA = 12 – 4 = 8 kN
VB
VA
Example 3

## Slide 42
ΣFy = 0 (upward forces + ve)
VA – 12 - 10 + VB = 0, VA + VB = 22 kN
ΣMA = 0 (anticlockwise moment +ve)
(12 x 2) – (10 x 5) + (VB x 6 ) = 0
VB = (24+50)/6 = 74/6 = 12.33 kN
VA = 22 – 12.33 = 9.67 kN
6 m
A
B
3 kN/m
4m
C
10 kN
D
1 m
2 m
3x 4 = 12 kN
6m
A
B
10 kN
D
1 m
C
2 m
VB
VA
Example 4

## Slide 43
ΣFy = 0 (upward forces + ve)
VA – 60 + VB = 0, VA + VB = 60 kN
ΣMA = 0 (anticlockwise moment +ve)
(60 x 2) + (VB x 6 ) = 0
VB = 120/6 = 20 kN
VA = 60 – 20 = 40 kN
6 m
A
B
20 kN/m
0 kN/m
6/3 = 2 m
0.5 x 20 x 6 = 60 kN
6m
A
B
VB
VA
Example 5

## Slide 44
HA
RA
α
W1
A
B
30◦
Hinge support
Roller support
VA
VB

## Slide 45
ΣFx = 0 (forces moving towards right side + ve)
HA – 8.66 = 0, HA = 8.66 kN
ΣFy = 0 (upward forces + ve)
VA – 12 - 5 + VB = 0, VA + VB = 17 kN
ΣMA = 0 (anticlockwise moment +ve)
(12 x 2) – (5 x 5) + (VB x 6 ) = 0
VB = (24+25)/6 = 49/6 = 8.167 kN
VA = 17 – 8.167 = 8.83 kN
6 m
A
B
3 kN/m
4m
C
10 kN
D
1 m
30◦
VB
VA
2 m
3x 4 = 12 kN
6m
A
B
10 sin30 = 5 kN
D
1 m
C
2 m
10 cos30 =8.66 kN
HA
Example 6

## Slide 46
A
VA = 8.83 kN
RA
45.55◦
RA= 12.36 kN
tanα = VA/ HA= (8.83/8.66)
α= 45.55◦
HA = 8.66 kN

## Slide 47
10 kN/m
4 m
A
B
30 kN/m
10 kN/m
10 kN/m
20 kN/m
0 kN/m
0.5 x 20 x 4 =40 kN
4/3 m
10 x 4 = 40 kN
4/2 m
Example 7

## Slide 48
10 kN/m
4 m
A
B
30 kN/m
40 kN
4/3 m
40 kN
4/2 m
VB
VA

## Slide 49
ΣFy = 0 (upward forces + ve)
VA – 40 - 40 + VB = 0, VA + VB = 80 kN
ΣMA = 0 (anticlockwise moment +ve)
[40 x (4/3)] – [40 x (4/2)] + (VB x 4 ) = 0
VB = (53.2+80)/4 = 133.2/4 = 33.3 kN
VA = 80 – 33.3 = 46.7 kN
40 kN
4/3 m
40 kN
4/2 m
VB
VA
4 m

## Slide 50
Unsolved Example 1
Find the reactions at supports A and B of the loaded beam shown in Fig.

## Slide 51
Unsolved Example 1
HA = 27.13 kN
VA = 12.77 kN
VB = 18.86 kN
RA = 29.989 kN
α = 25.21◦
Find the reactions at supports A and B of the loaded beam shown in Fig.

## Slide 52
Unsolved Example 2
Find the reactions at supports A and B of the loaded beam shown in Fig.

## Slide 53
Unsolved Example 2
VA = 91.65 kN
VB = 90.77 kN
HB = 42.42 kN
RB = 100.20 kN
α = 64.95◦
Find the reactions at supports A and B of the loaded beam shown in Fig.

## Slide 54
Unsolved Example 3
Find the reactions at supports A and B of the loaded beam shown in Fig.

## Slide 55
Unsolved Example 3
Find the reactions at supports A and B of the loaded beam shown in Fig.
ΣFy = 0 (upward forces + ve)
-(20 x 2) + VA+ 60 + VB + 20= 0, VA + VB = 120 kN
ΣMA = 0 (anticlockwise moment +ve)
+[(20 x 2)x (2/2)] – (60 x 4)+ - 30 + (VB x 9) – (20 x 11)= 0
VB = (- 40+240 +30 +220)/9 = 450/9 = 50 kN
VA = 120 – 50 = 70 kN
VB
VA
Moment not a force

## Slide 56
Unsolved Example 4
Find the reactions at supports A and B of the loaded beam shown in Fig.
3 m
A
B
4 kN/m
C
1 m
ΣFy = 0 (upward forces + ve)
VA – (4 x 4)+ VB = 0, VA + VB = 16 kN
ΣMA = 0 (anticlockwise moment +ve)
[(4 x 4) x 1] + (VB x 3 ) = 0
VB = (16)/3 = 5.33 kN
VA = 16 – 5.33 = 10.67 kN
4x4 =16 kN
2 m
1 m

## Slide 57
Unsolved Example 4
OR
3 m
A
B
4 kN/m
C
1 m
ΣFy = 0 (upward forces + ve)
VA – (4 x 4)+ VB = 0, VA + VB = 16 kN
ΣMB = 0 (anticlockwise moment +ve)
[(4 x 4) x 2] - (VA x 3 ) = 0
VA = (32)/3 = 10.67 kN
VB = 16 – 10.67 = 5.33kN
4x4 =16 kN
2 m
1 m

## Slide 61
A beam AB 8.5 m long is hinged at A and supported on rollers over a smooth
surface inclined at 30° to the horizontal at B. The beam is loaded as shown in Fig

## Slide 66: CABLES

## Slide 67
Rope way or Cable car or sky tram

## Slide 70
Consider a cable attached to two fixed points A and B and supporting n vertical concentrated loads P1, P2, . . . , Pn (Fig. 7.13a). We assume that the cable is flexible, i.e., that its resistance to bending is small and can be neglected. We further assume that the weight of the cable is negligible compared with the loads supported by the cable.
Any portion of cable between successive loads can therefore be considered as a two-force member, and the internal forces at any point in the cable reduce to a force of tension directed along the cable.

## Slide 73
HB
HA
VB
VA
ΣFx = 0 , ΣFy = 0, ΣM = 0
ΣMC2 = 0

## Slide 74
Three loads are suspended as shown from the cable ABCDE. Knowing that dC= 4 m, determine (a) the components of the reaction at E.

## Slide 75
ΣFx = 0 , ΣFy = 0, ΣM = 0
HE
VE
VA
HA
ΣMA = 0 (anticlockwise moment +ve)
(2 x 5) – (4 x 10) – (6 x 15) + (VE x 20 ) = 0
VE = (10+40+90)/20 = 140/20 = 7 kN

## Slide 76
HE
VE = 7 kN
VA
HA
ΣMC = 0 (anticlockwise moment +ve)
(6 x 5) + (VE x 10 ) - (HE x dc ) = 0
(30) + (7 x 10) - (HE x 4) = 0
HE = (-30+70)/4 = 40/4 = 10 kN
Considering free body of the entire cable
= 4m

## Slide 77
Determine the tension in each segment of the cable shown in figure below. Also obtain the elevation of points B and D.
VA
HA
HE
VE
A
B
D
C
E
8 kN
16 kN
8 kN
11.5m
yB
yD
3 m
2 m
1 m
2 m

## Slide 78
VA
HA
HE
VE
A
B
D
C
E
8 kN
16 kN
8 kN
11.5m
yB
yD
3 m
2 m
1 m
2 m
VA
HA
A
FAB
θAB
Joint A
FBC
θBC
8 kN
FBA
θAB
B
Joint B
FCD
θCD
16 kN
FCB
θBC
C
Joint C
FDE
θDE
8 kN
FDC
θCD
D
Joint D

## Slide 79
VA
HA
HE
VE
A
B
D
C
E
8 kN
16 kN
8 kN
11.5m
yB
yD
3 m
2 m
1 m
2 m
ΣFy = 0 (upward forces + ve)
VA - 8 – 16 - 8 + VB = 0, VA + VB = 32 kN
ΣMA = 0 (anticlockwise moment +ve)
(8 x 2) – (16 x 5) – (8 x 6) + (VE x 8 ) = 0
VE = (16+80+48)/8 = 144/8 = 18 kN
VA = 32 – 18 = 14 kN
ΣFx = 0 (forces moving towards right side + ve)
- HA + HB = 0 kN, HA = HB
Considering free body of the entire cable

## Slide 80
11.5m
VA
HA
HE
VE
A
B
D
C
E
8 kN
16 kN
8 kN
yB
yD
3 m
2 m
1 m
2 m
ΣMC = 0 (anticlockwise moment +ve)
+(8 x 3) – (VA x 5) + (HA x 11.5) = 0
+(8 x 3) – (14 x 5) + (HA x 11.5) = 0
HA = (-24+70)/11.5 = 46/11.5 = 4 kN
ΣFx = 0 (forces moving towards right side + ve)
- HA + HB = 0 kN, HA = HB = 4 kN
Considering free body of the left side of joint C

## Slide 81
ΣFx = 0 (forces moving towards right side + ve)
HA + FAB cosθAB = 0
4 + FAB cosθAB = 0,
FAB cosθAB = 4 kN _________(i)
ΣFy = 0 (Upward forces + ve)
+ VA - FAB sinθAB = 0,
+ 14 - FAB sinθAB = 0,
FAB sinθAB = 14 kN_______(ii)
After solving (i) & (ii) we get,
FAB = 14.56 kN, θAB = 74.05◦
Considering free body diagram of joint A
VA
HA
A
FAB
θAB

## Slide 82
θAB = 74.05◦
yB = 2 tan θAB = 2 tan(74.05) = 7 m

## Slide 83
ΣFx = 0 (forces moving towards right side + ve)
FBA cosθ BA + FBC cosθ BC =0
(14.56)cos(74.05) + FBC cosθ BC = 0,
FBC cosθ BC = 4 kN _________(i)
ΣFy = 0 (Upward forces + ve)
+ FBA sinθ BA - 8 - FBC sinθ BC =0
14.56 sin(74.05) - 8 - FBC sinθ BC =0
14- 8 - FBC sinθ BC =0, FBC sinθ BC =14-8 = 6 kN_______(ii)
After solving (i) & (ii) we get,
FBC = 7.21 kN, θBC = 56.31◦
Considering free body diagram of joint B
FBC
θBC
8 kN
FBA = 14.56 kN
θBA = 74.05
B
Joint B
FBA = 14.56 kN, θBA = 74.05◦

## Slide 84
ΣFx = 0 (forces moving towards right side + ve)
FCB cosθCB + FCD cosθCD =0
(7.21)cos(56.31) + FCD cosθCD = 0,
FCD cosθCD = 4 kN _________(i)
ΣFy = 0 (Upward forces + ve)
+ FCB sinθCB + FCD sinθCD =0
(7.21)sin(56.31) – 16 + FCD sinθCD = 0,
6 - 16 + FCD sinθCD =0, FCD sinθCD =16-6 = 10 kN_______(ii)
After solving (i) & (ii) we get,
FCD = 10.77 kN, θCD = 68.20◦
Considering free body diagram of joint C
FCD
θCD
16 kN
FCB
θCB
C
Joint C
FCB = 7.21 kN, θBC = 56.31◦

## Slide 85
ΣFx = 0 (forces moving towards right side + ve)
FDC cosθDC + FDE cosθDE =0
(10.77)cos(68.20) + FDE cosθDE = 0,
FDE cosθDE = 4 kN _________(i)
ΣFy = 0 (Upward forces + ve)
FDC sinθDC - 8 + FDE sinθDE =0
(10.77)sin(68.20) - 8 + FDE sinθDE = 0,
-10 - 8 + FDE sinθDE =0, FDE sinθDE =18 kN_______(ii)
After solving (i) & (ii) we get,
FDE = 18.44 kN, θDE = 77.47◦
Considering free body diagram of joint D
FDC = 10.77 kN, θDC = 68.20◦
FDE
θDE
8 kN
FDC
θDC
D
Joint D

## Slide 86
θDE = 77.47◦
yD = 2 tan θDE = 2 tan(77.47) = 9 m

## Slide 88
VA =18.57 kN, HA = 21.429 kN
VE = 1.429 kN, HE = 21.429 kN
dB = 1.733 m, dD= 4.20 m

## Slide 90
ΣMA = 0 (anticlockwise moment +ve)
(686.7 x 4) – (245.25x 10) – (P x 5) + (VD x 14 ) = 0
14VD - 5P= (2746.8+2452.5) = 5199.3 N
14 VD – 5 P = 5199.3 N--------------(1)
Considering free body of the entire cable
HA
70x9.81 =686.7 N
25x9.81 =245.25 N
HD
VA
VD

## Slide 92
ΣMA = 0 (anticlockwise moment +ve)
(686.7 x 4) – (245.25x 10) – (P x 5) + (VD x 14 ) = 0
14VD - 5P= (2746.8+2452.5) = 5199.3 N
14 VD – 5 P = 5199.3 N--------------(1)
Considering free body of the entire cable
HA
70x9.81 =686.7 N
25x9.81 =245.25 N
HD
VA
VD

## Slide 93
ΣMB = 0 (anticlockwise moment +ve)
– (245.25x 6) + (VD x 10 ) - (HD x 5 ) = 0
10VD - 5 HD = 1471.5 N --------------(2)
Considering free body of the right side of joint B
HA
70x9.81 =686.7 N
25x9.81 =245.25 N
HD
VA
VD
Taking section from joint not cutting any members

## Slide 94
ΣMC = 0 (anticlockwise moment +ve)
+ (VD x 4 ) - (HD x 3 ) = 0
4 VD = 3 HD
VD = (3/4) HD --------------(3)
Considering free body of the right side of joint C
HA
70x9.81 =686.7 N
25x9.81 =245.25 N
HD
VA
VD

## Slide 95
14 VD – 5 P = 5199.3 N--------------(1)
10VD - 5 HD = 1471.5 N --------------(2)
VD = (3/4) HD --------------(3)
10VD - 5 HD = 1471.5 N
10 (3/4) HD - 5 HD = 1471.5 N
7.5HD - 5 HD = 1471.5 N
(2.5) HD = 1471.5 N
HD = 588.6 N
VD = (3/4) HD
VD = (3/4) 588.6 = 441.45 N
14 VD – 5 P = 5199.3
14 (441.45) – 5P = 5199.3
6180.3– 5P = 5199.3
6180.3– 5199.3 = 5P
P = 196.2 N

## Slide 96
3 m
P = 72 kN, Q = 30 kN